## Test signal 2
Loudness calculation according to ISO 532-1 for stationary sounds (free field) | [7 empty] | Test
[8 empty] | 0 | 0
| N | Nmin | Nmax | critical band | N' | N'min | N'max | N | N'
| sone | sone | sone | Bark | sone/Bark | sone/Bark | sone/Bark | sone | sone/Bark
N / sone | 14.6545 | 13.9218 | 15.3872 | 0.1 | 0 | 0 | 0.1 | 14.6545 | 0 | 0 | 0 | For testing copy appropriate
LN / phon | 78.7327 | 77.993 | 79.437 | 0.2 | 0 | 0 | 0.1 |  | 0 |  | 0 | values for N and N' into fields
|  |  |  | 0.3 | 0 | 0 | 0.1 |  | 0 |  | 0 | with light gray background color!
|  |  |  | 0.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.1 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.2 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.3 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.4 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.5 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.6 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.7 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.8 | 0.3286 | 0.2286 | 0.4286 |  | 0.3286 |  | 0
|  |  |  | 1.9 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.1 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.2 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.3 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.4 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.5 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.6 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.7 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.8 | 4.5834 | 4.3542 | 4.8126 |  | 4.5834 |  | 0
|  |  |  | 2.9 | 4.3811 | 4.162 | 4.6002 |  | 4.3811 |  | 0
|  |  |  | 3 | 4.2311 | 4.0195 | 4.4427 |  | 4.2311 |  | 0
|  |  |  | 3.1 | 4.0811 | 3.877 | 4.2852 |  | 4.0811 |  | 0
|  |  |  | 3.2 | 3.9311 | 3.7345 | 4.1277 |  | 3.9311 |  | 0
|  |  |  | 3.3 | 3.7811 | 3.592 | 3.9702 |  | 3.7811 |  | 0
|  |  |  | 3.4 | 3.6311 | 3.4495 | 3.8127 |  | 3.6311 |  | 0
|  |  |  | 3.5 | 3.4811 | 3.307 | 3.6552 |  | 3.4811 |  | 0
|  |  |  | 3.6 | 3.3461 | 3.1788 | 3.5134 |  | 3.3461 |  | 0
|  |  |  | 3.7 | 3.2111 | 3.0505 | 3.3717 |  | 3.2111 |  | 0
|  |  |  | 3.8 | 3.0797 | 2.9257 | 3.2337 |  | 3.0797 |  | 0
|  |  |  | 3.9 | 2.9647 | 2.8165 | 3.1129 |  | 2.9647 |  | 0
|  |  |  | 4 | 2.8497 | 2.7072 | 2.9922 |  | 2.8497 |  | 0
|  |  |  | 4.1 | 2.7347 | 2.598 | 2.8714 |  | 2.7347 |  | 0
|  |  |  | 4.2 | 2.6197 | 2.4887 | 2.7507 |  | 2.6197 |  | 0
|  |  |  | 4.3 | 2.5047 | 2.3795 | 2.6299 |  | 2.5047 |  | 0
|  |  |  | 4.4 | 2.3897 | 2.2702 | 2.5092 |  | 2.3897 |  | 0
|  |  |  | 4.5 | 2.2797 | 2.1657 | 2.3937 |  | 2.2797 |  | 0
|  |  |  | 4.6 | 2.1697 | 2.0612 | 2.2782 |  | 2.1697 |  | 0
|  |  |  | 4.7 | 2.0776 | 1.9737 | 2.1815 |  | 2.0776 |  | 0
|  |  |  | 4.8 | 1.9956 | 1.8956 | 2.0956 |  | 1.9956 |  | 0
|  |  |  | 4.9 | 1.9136 | 1.8136 | 2.0136 |  | 1.9136 |  | 0
|  |  |  | 5 | 1.8316 | 1.7316 | 1.9316 |  | 1.8316 |  | 0
|  |  |  | 5.1 | 1.7496 | 1.6496 | 1.8496 |  | 1.7496 |  | 0
|  |  |  | 5.2 | 1.6676 | 1.5676 | 1.7676 |  | 1.6676 |  | 0
|  |  |  | 5.3 | 1.5856 | 1.4856 | 1.6856 |  | 1.5856 |  | 0
|  |  |  | 5.4 | 1.5036 | 1.4036 | 1.6036 |  | 1.5036 |  | 0
|  |  |  | 5.5 | 1.4216 | 1.3216 | 1.5216 |  | 1.4216 |  | 0
|  |  |  | 5.6 | 1.3445 | 1.2445 | 1.4445 |  | 1.3445 |  | 0
|  |  |  | 5.7 | 1.2825 | 1.1825 | 1.3825 |  | 1.2825 |  | 0
|  |  |  | 5.8 | 1.2205 | 1.1205 | 1.3205 |  | 1.2205 |  | 0
|  |  |  | 5.9 | 1.1585 | 1.0585 | 1.2585 |  | 1.1585 |  | 0
|  |  |  | 6 | 1.0965 | 0.9965 | 1.1965 |  | 1.0965 |  | 0
|  |  |  | 6.1 | 1.0345 | 0.9345 | 1.1345 |  | 1.0345 |  | 0
|  |  |  | 6.2 | 0.9725 | 0.8725 | 1.0725 |  | 0.9725 |  | 0
|  |  |  | 6.3 | 0.9105 | 0.8105 | 1.0105 |  | 0.9105 |  | 0
|  |  |  | 6.4 | 0.8485 | 0.7485 | 0.9485 |  | 0.8485 |  | 0
|  |  |  | 6.5 | 0.7973 | 0.6973 | 0.8973 |  | 0.7973 |  | 0
|  |  |  | 6.6 | 0.7553 | 0.6553 | 0.8553 |  | 0.7553 |  | 0
|  |  |  | 6.7 | 0.7133 | 0.6133 | 0.8133 |  | 0.7133 |  | 0
|  |  |  | 6.8 | 0.6713 | 0.5713 | 0.7713 |  | 0.6713 |  | 0
|  |  |  | 6.9 | 0.6293 | 0.5293 | 0.7293 |  | 0.6293 |  | 0
|  |  |  | 7 | 0.5873 | 0.4873 | 0.6873 |  | 0.5873 |  | 0
|  |  |  | 7.1 | 0.5453 | 0.4453 | 0.6453 |  | 0.5453 |  | 0
|  |  |  | 7.2 | 0.5033 | 0.4033 | 0.6033 |  | 0.5033 |  | 0
|  |  |  | 7.3 | 0.4613 | 0.3613 | 0.5613 |  | 0.4613 |  | 0
|  |  |  | 7.4 | 0.4197 | 0.3197 | 0.5197 |  | 0.4197 |  | 0
|  |  |  | 7.5 | 0.3977 | 0.2977 | 0.4977 |  | 0.3977 |  | 0
|  |  |  | 7.6 | 0.3757 | 0.2757 | 0.4757 |  | 0.3757 |  | 0
|  |  |  | 7.7 | 0.3537 | 0.2537 | 0.4537 |  | 0.3537 |  | 0
|  |  |  | 7.8 | 0.3317 | 0.2317 | 0.4317 |  | 0.3317 |  | 0
|  |  |  | 7.9 | 0.3097 | 0.2097 | 0.4097 |  | 0.3097 |  | 0
|  |  |  | 8 | 0.2905 | 0.1905 | 0.3905 |  | 0.2905 |  | 0
|  |  |  | 8.1 | 0.2735 | 0.1735 | 0.3735 |  | 0.2735 |  | 0
|  |  |  | 8.2 | 0.2565 | 0.1565 | 0.3565 |  | 0.2565 |  | 0
|  |  |  | 8.3 | 0.2395 | 0.1395 | 0.3395 |  | 0.2395 |  | 0
|  |  |  | 8.4 | 0.2225 | 0.1225 | 0.3225 |  | 0.2225 |  | 0
|  |  |  | 8.5 | 0.2106 | 0.1106 | 0.3106 |  | 0.2106 |  | 0
|  |  |  | 8.6 | 0.1996 | 0.0996 | 0.2996 |  | 0.1996 |  | 0
|  |  |  | 8.7 | 0.1886 | 0.0886 | 0.2886 |  | 0.1886 |  | 0
|  |  |  | 8.8 | 0.1776 | 0.0776 | 0.2776 |  | 0.1776 |  | 0
|  |  |  | 8.9 | 0.1666 | 0.0666 | 0.2666 |  | 0.1666 |  | 0
|  |  |  | 9 | 0.1556 | 0.0556 | 0.2556 |  | 0.1556 |  | 0
|  |  |  | 9.1 | 0.1461 | 0.0461 | 0.2461 |  | 0.1461 |  | 0
|  |  |  | 9.2 | 0.1381 | 0.0381 | 0.2381 |  | 0.1381 |  | 0
|  |  |  | 9.3 | 0.1301 | 0.0301 | 0.2301 |  | 0.1301 |  | 0
|  |  |  | 9.4 | 0.1221 | 0.0221 | 0.2221 |  | 0.1221 |  | 0
|  |  |  | 9.5 | 0.1141 | 0.0141 | 0.2141 |  | 0.1141 |  | 0
|  |  |  | 9.6 | 0.1061 | 0.0061 | 0.2061 |  | 0.1061 |  | 0
|  |  |  | 9.7 | 0.0988 | 0 | 0.1988 |  | 0.0988 |  | 0
|  |  |  | 9.8 | 0.0938 | 0 | 0.1938 |  | 0.0938 |  | 0
|  |  |  | 9.9 | 0.0888 | 0 | 0.1888 |  | 0.0888 |  | 0
|  |  |  | 10 | 0.0838 | 0 | 0.1838 |  | 0.0838 |  | 0
|  |  |  | 10.1 | 0.0788 | 0 | 0.1788 |  | 0.0788 |  | 0
|  |  |  | 10.2 | 0.0738 | 0 | 0.1738 |  | 0.0738 |  | 0
|  |  |  | 10.3 | 0.0688 | 0 | 0.1688 |  | 0.0688 |  | 0
|  |  |  | 10.4 | 0.0638 | 0 | 0.1638 |  | 0.0638 |  | 0
|  |  |  | 10.5 | 0.0588 | 0 | 0.1588 |  | 0.0588 |  | 0
|  |  |  | 10.6 | 0.0538 | 0 | 0.1538 |  | 0.0538 |  | 0
|  |  |  | 10.7 | 0.0488 | 0 | 0.1488 |  | 0.0488 |  | 0
|  |  |  | 10.8 | 0.0438 | 0 | 0.1438 |  | 0.0438 |  | 0
|  |  |  | 10.9 | 0.0388 | 0 | 0.1388 |  | 0.0388 |  | 0
|  |  |  | 11 | 0.0345 | 0 | 0.1345 |  | 0.0345 |  | 0
|  |  |  | 11.1 | 0.0325 | 0 | 0.1325 |  | 0.0325 |  | 0
|  |  |  | 11.2 | 0.0305 | 0 | 0.1305 |  | 0.0305 |  | 0
|  |  |  | 11.3 | 0.0285 | 0 | 0.1285 |  | 0.0285 |  | 0
|  |  |  | 11.4 | 0.0265 | 0 | 0.1265 |  | 0.0265 |  | 0
|  |  |  | 11.5 | 0.0245 | 0 | 0.1245 |  | 0.0245 |  | 0
|  |  |  | 11.6 | 0.0225 | 0 | 0.1225 |  | 0.0225 |  | 0
|  |  |  | 11.7 | 0.0205 | 0 | 0.1205 |  | 0.0205 |  | 0
|  |  |  | 11.8 | 0.0185 | 0 | 0.1185 |  | 0.0185 |  | 0
|  |  |  | 11.9 | 0.0165 | 0 | 0.1165 |  | 0.0165 |  | 0
|  |  |  | 12 | 0.0145 | 0 | 0.1145 |  | 0.0145 |  | 0
|  |  |  | 12.1 | 0.0125 | 0 | 0.1125 |  | 0.0125 |  | 0
|  |  |  | 12.2 | 0.0105 | 0 | 0.1105 |  | 0.0105 |  | 0
|  |  |  | 12.3 | 0.0085 | 0 | 0.1085 |  | 0.0085 |  | 0
|  |  |  | 12.4 | 0.0065 | 0 | 0.1065 |  | 0.0065 |  | 0
|  |  |  | 12.5 | 0.0045 | 0 | 0.1045 |  | 0.0045 |  | 0
|  |  |  | 12.6 | 0.0025 | 0 | 0.1025 |  | 0.0025 |  | 0
|  |  |  | 12.7 | 0.0005 | 0 | 0.1005 |  | 0.0005 |  | 0
|  |  |  | 12.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 24 | 0 | 0 | 0.1 |  | 0 |  | 0

## Test signal 3
Loudness calculation according to ISO 532-1 for stationary sounds (free field) | [7 empty] | Test
[8 empty] | 0 | 0
| N | Nmin | Nmax | critical band | N' | N'min | N'max | N | N'
| sone | sone | sone | Bark | sone/Bark | sone/Bark | sone/Bark | sone | sone/Bark
N / sone | 4.0192 | 3.8182 | 4.2202 | 0.1 | 0 | 0 | 0.1 | 4.0192 | 0 | 0 | 0 | For testing copy appropriate
LN / phon | 60.0689 | 59.329 | 60.773 | 0.2 | 0 | 0 | 0.1 |  | 0 |  | 0 | values for N and N' into fields
|  |  |  | 0.3 | 0 | 0 | 0.1 |  | 0 |  | 0 | with light gray background color!
|  |  |  | 0.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.5 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 4.6 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 4.7 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 4.8 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 4.9 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5.1 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5.2 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5.3 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5.4 | 0.0058 | 0 | 0.1058 |  | 0.0058 |  | 0
|  |  |  | 5.5 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 5.6 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 5.7 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 5.8 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 5.9 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.1 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.2 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.3 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.4 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.5 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.6 | 0.0647 | 0 | 0.1647 |  | 0.0647 |  | 0
|  |  |  | 6.7 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 6.8 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 6.9 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.1 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.2 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.3 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.4 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.5 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.6 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.7 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.8 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 7.9 | 0.3417 | 0.2417 | 0.4417 |  | 0.3417 |  | 0
|  |  |  | 8 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.1 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.2 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.3 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.4 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.5 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.6 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.7 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.8 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 8.9 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 9 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 9.1 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 9.2 | 1.2273 | 1.1273 | 1.3273 |  | 1.2273 |  | 0
|  |  |  | 9.3 | 1.1654 | 1.0654 | 1.2654 |  | 1.1654 |  | 0
|  |  |  | 9.4 | 1.1034 | 1.0034 | 1.2034 |  | 1.1034 |  | 0
|  |  |  | 9.5 | 1.0414 | 0.9414 | 1.1414 |  | 1.0414 |  | 0
|  |  |  | 9.6 | 0.9794 | 0.8794 | 1.0794 |  | 0.9794 |  | 0
|  |  |  | 9.7 | 0.9174 | 0.8174 | 1.0174 |  | 0.9174 |  | 0
|  |  |  | 9.8 | 0.8554 | 0.7554 | 0.9554 |  | 0.8554 |  | 0
|  |  |  | 9.9 | 0.802 | 0.702 | 0.902 |  | 0.802 |  | 0
|  |  |  | 10 | 0.76 | 0.66 | 0.86 |  | 0.76 |  | 0
|  |  |  | 10.1 | 0.718 | 0.618 | 0.818 |  | 0.718 |  | 0
|  |  |  | 10.2 | 0.676 | 0.576 | 0.776 |  | 0.676 |  | 0
|  |  |  | 10.3 | 0.634 | 0.534 | 0.734 |  | 0.634 |  | 0
|  |  |  | 10.4 | 0.592 | 0.492 | 0.692 |  | 0.592 |  | 0
|  |  |  | 10.5 | 0.55 | 0.45 | 0.65 |  | 0.55 |  | 0
|  |  |  | 10.6 | 0.508 | 0.408 | 0.608 |  | 0.508 |  | 0
|  |  |  | 10.7 | 0.466 | 0.366 | 0.566 |  | 0.466 |  | 0
|  |  |  | 10.8 | 0.424 | 0.324 | 0.524 |  | 0.424 |  | 0
|  |  |  | 10.9 | 0.4001 | 0.3001 | 0.5001 |  | 0.4001 |  | 0
|  |  |  | 11 | 0.3781 | 0.2781 | 0.4781 |  | 0.3781 |  | 0
|  |  |  | 11.1 | 0.3561 | 0.2561 | 0.4561 |  | 0.3561 |  | 0
|  |  |  | 11.2 | 0.3341 | 0.2341 | 0.4341 |  | 0.3341 |  | 0
|  |  |  | 11.3 | 0.3121 | 0.2121 | 0.4121 |  | 0.3121 |  | 0
|  |  |  | 11.4 | 0.2923 | 0.1923 | 0.3923 |  | 0.2923 |  | 0
|  |  |  | 11.5 | 0.2753 | 0.1753 | 0.3753 |  | 0.2753 |  | 0
|  |  |  | 11.6 | 0.2583 | 0.1583 | 0.3583 |  | 0.2583 |  | 0
|  |  |  | 11.7 | 0.2413 | 0.1413 | 0.3413 |  | 0.2413 |  | 0
|  |  |  | 11.8 | 0.2243 | 0.1243 | 0.3243 |  | 0.2243 |  | 0
|  |  |  | 11.9 | 0.2118 | 0.1118 | 0.3118 |  | 0.2118 |  | 0
|  |  |  | 12 | 0.2008 | 0.1008 | 0.3008 |  | 0.2008 |  | 0
|  |  |  | 12.1 | 0.1898 | 0.0898 | 0.2898 |  | 0.1898 |  | 0
|  |  |  | 12.2 | 0.1788 | 0.0788 | 0.2788 |  | 0.1788 |  | 0
|  |  |  | 12.3 | 0.1678 | 0.0678 | 0.2678 |  | 0.1678 |  | 0
|  |  |  | 12.4 | 0.1568 | 0.0568 | 0.2568 |  | 0.1568 |  | 0
|  |  |  | 12.5 | 0.147 | 0.047 | 0.247 |  | 0.147 |  | 0
|  |  |  | 12.6 | 0.139 | 0.039 | 0.239 |  | 0.139 |  | 0
|  |  |  | 12.7 | 0.131 | 0.031 | 0.231 |  | 0.131 |  | 0
|  |  |  | 12.8 | 0.123 | 0.023 | 0.223 |  | 0.123 |  | 0
|  |  |  | 12.9 | 0.115 | 0.015 | 0.215 |  | 0.115 |  | 0
|  |  |  | 13 | 0.107 | 0.007 | 0.207 |  | 0.107 |  | 0
|  |  |  | 13.1 | 0.0993 | 0 | 0.1993 |  | 0.0993 |  | 0
|  |  |  | 13.2 | 0.0943 | 0 | 0.1943 |  | 0.0943 |  | 0
|  |  |  | 13.3 | 0.0893 | 0 | 0.1893 |  | 0.0893 |  | 0
|  |  |  | 13.4 | 0.0843 | 0 | 0.1843 |  | 0.0843 |  | 0
|  |  |  | 13.5 | 0.0793 | 0 | 0.1793 |  | 0.0793 |  | 0
|  |  |  | 13.6 | 0.0743 | 0 | 0.1743 |  | 0.0743 |  | 0
|  |  |  | 13.7 | 0.0693 | 0 | 0.1693 |  | 0.0693 |  | 0
|  |  |  | 13.8 | 0.0643 | 0 | 0.1643 |  | 0.0643 |  | 0
|  |  |  | 13.9 | 0.0593 | 0 | 0.1593 |  | 0.0593 |  | 0
|  |  |  | 14 | 0.0543 | 0 | 0.1543 |  | 0.0543 |  | 0
|  |  |  | 14.1 | 0.0493 | 0 | 0.1493 |  | 0.0493 |  | 0
|  |  |  | 14.2 | 0.0443 | 0 | 0.1443 |  | 0.0443 |  | 0
|  |  |  | 14.3 | 0.0393 | 0 | 0.1393 |  | 0.0393 |  | 0
|  |  |  | 14.4 | 0.0347 | 0 | 0.1347 |  | 0.0347 |  | 0
|  |  |  | 14.5 | 0.0327 | 0 | 0.1327 |  | 0.0327 |  | 0
|  |  |  | 14.6 | 0.0307 | 0 | 0.1307 |  | 0.0307 |  | 0
|  |  |  | 14.7 | 0.0287 | 0 | 0.1287 |  | 0.0287 |  | 0
|  |  |  | 14.8 | 0.0267 | 0 | 0.1267 |  | 0.0267 |  | 0
|  |  |  | 14.9 | 0.0247 | 0 | 0.1247 |  | 0.0247 |  | 0
|  |  |  | 15 | 0.0227 | 0 | 0.1227 |  | 0.0227 |  | 0
|  |  |  | 15.1 | 0.0207 | 0 | 0.1207 |  | 0.0207 |  | 0
|  |  |  | 15.2 | 0.0187 | 0 | 0.1187 |  | 0.0187 |  | 0
|  |  |  | 15.3 | 0.0167 | 0 | 0.1167 |  | 0.0167 |  | 0
|  |  |  | 15.4 | 0.0147 | 0 | 0.1147 |  | 0.0147 |  | 0
|  |  |  | 15.5 | 0.0127 | 0 | 0.1127 |  | 0.0127 |  | 0
|  |  |  | 15.6 | 0.0107 | 0 | 0.1107 |  | 0.0107 |  | 0
|  |  |  | 15.7 | 0.0087 | 0 | 0.1087 |  | 0.0087 |  | 0
|  |  |  | 15.8 | 0.0067 | 0 | 0.1067 |  | 0.0067 |  | 0
|  |  |  | 15.9 | 0.0047 | 0 | 0.1047 |  | 0.0047 |  | 0
|  |  |  | 16 | 0.0027 | 0 | 0.1027 |  | 0.0027 |  | 0
|  |  |  | 16.1 | 0.0007 | 0 | 0.1007 |  | 0.0007 |  | 0
|  |  |  | 16.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 16.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 17.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 18.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 19.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 20.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 21.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 22.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 24 | 0 | 0 | 0.1 |  | 0 |  | 0

## Test signal 4
Loudness calculation according to ISO 532-1 for stationary sounds (free field) | [7 empty] | Test
[8 empty] | 0 | 0
| N | Nmin | Nmax | critical band | N' | N'min | N'max | N | N'
| sone | sone | sone | Bark | sone/Bark | sone/Bark | sone/Bark | sone | sone/Bark
N / sone | 1.5494 | 1.4494 | 1.6494 | 0.1 | 0 | 0 | 0.1 | 1.5494 | 0 | 0 | 0 | For testing copy appropriate
LN / phon | 46.3169 | 45.355 | 47.219 | 0.2 | 0 | 0 | 0.1 |  | 0 |  | 0 | values for N and N' into fields
|  |  |  | 0.3 | 0 | 0 | 0.1 |  | 0 |  | 0 | with light gray background color!
|  |  |  | 0.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 0.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 1.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 2.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 3.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 4.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 5.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 6.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 7.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 8.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 9.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 10.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 11.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 12.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 13.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.3 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.4 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.5 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.6 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 14.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.1 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.2 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 15.3 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.4 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.5 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.6 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.7 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.8 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 15.9 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.1 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.2 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.3 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.4 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.5 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.6 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.7 | 0.0962 | 0 | 0.1962 |  | 0.0962 |  | 0
|  |  |  | 16.8 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 16.9 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.1 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.2 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.3 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.4 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.5 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.6 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.7 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.8 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 17.9 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 18 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 18.1 | 0.494 | 0.394 | 0.594 |  | 0.494 |  | 0
|  |  |  | 18.2 | 0.4521 | 0.3521 | 0.5521 |  | 0.4521 |  | 0
|  |  |  | 18.3 | 0.4148 | 0.3148 | 0.5148 |  | 0.4148 |  | 0
|  |  |  | 18.4 | 0.3928 | 0.2928 | 0.4928 |  | 0.3928 |  | 0
|  |  |  | 18.5 | 0.3708 | 0.2708 | 0.4708 |  | 0.3708 |  | 0
|  |  |  | 18.6 | 0.3488 | 0.2488 | 0.4488 |  | 0.3488 |  | 0
|  |  |  | 18.7 | 0.3268 | 0.2268 | 0.4268 |  | 0.3268 |  | 0
|  |  |  | 18.8 | 0.3048 | 0.2048 | 0.4048 |  | 0.3048 |  | 0
|  |  |  | 18.9 | 0.2867 | 0.1867 | 0.3867 |  | 0.2867 |  | 0
|  |  |  | 19 | 0.2697 | 0.1697 | 0.3697 |  | 0.2697 |  | 0
|  |  |  | 19.1 | 0.2527 | 0.1527 | 0.3527 |  | 0.2527 |  | 0
|  |  |  | 19.2 | 0.2357 | 0.1357 | 0.3357 |  | 0.2357 |  | 0
|  |  |  | 19.3 | 0.2192 | 0.1192 | 0.3192 |  | 0.2192 |  | 0
|  |  |  | 19.4 | 0.2082 | 0.1082 | 0.3082 |  | 0.2082 |  | 0
|  |  |  | 19.5 | 0.1972 | 0.0972 | 0.2972 |  | 0.1972 |  | 0
|  |  |  | 19.6 | 0.1862 | 0.0862 | 0.2862 |  | 0.1862 |  | 0
|  |  |  | 19.7 | 0.1752 | 0.0752 | 0.2752 |  | 0.1752 |  | 0
|  |  |  | 19.8 | 0.1642 | 0.0642 | 0.2642 |  | 0.1642 |  | 0
|  |  |  | 19.9 | 0.1532 | 0.0532 | 0.2532 |  | 0.1532 |  | 0
|  |  |  | 20 | 0.1443 | 0.0443 | 0.2443 |  | 0.1443 |  | 0
|  |  |  | 20.1 | 0.1363 | 0.0363 | 0.2363 |  | 0.1363 |  | 0
|  |  |  | 20.2 | 0.1283 | 0.0283 | 0.2283 |  | 0.1283 |  | 0
|  |  |  | 20.3 | 0.1203 | 0.0203 | 0.2203 |  | 0.1203 |  | 0
|  |  |  | 20.4 | 0.1123 | 0.0123 | 0.2123 |  | 0.1123 |  | 0
|  |  |  | 20.5 | 0.1043 | 0.0043 | 0.2043 |  | 0.1043 |  | 0
|  |  |  | 20.6 | 0.0977 | 0 | 0.1977 |  | 0.0977 |  | 0
|  |  |  | 20.7 | 0.0927 | 0 | 0.1927 |  | 0.0927 |  | 0
|  |  |  | 20.8 | 0.0877 | 0 | 0.1877 |  | 0.0877 |  | 0
|  |  |  | 20.9 | 0.0827 | 0 | 0.1827 |  | 0.0827 |  | 0
|  |  |  | 21 | 0.0777 | 0 | 0.1777 |  | 0.0777 |  | 0
|  |  |  | 21.1 | 0.0727 | 0 | 0.1727 |  | 0.0727 |  | 0
|  |  |  | 21.2 | 0.0677 | 0 | 0.1677 |  | 0.0677 |  | 0
|  |  |  | 21.3 | 0.0627 | 0 | 0.1627 |  | 0.0627 |  | 0
|  |  |  | 21.4 | 0.0577 | 0 | 0.1577 |  | 0.0577 |  | 0
|  |  |  | 21.5 | 0.0527 | 0 | 0.1527 |  | 0.0527 |  | 0
|  |  |  | 21.6 | 0.0477 | 0 | 0.1477 |  | 0.0477 |  | 0
|  |  |  | 21.7 | 0.0427 | 0 | 0.1427 |  | 0.0427 |  | 0
|  |  |  | 21.8 | 0.0377 | 0 | 0.1377 |  | 0.0377 |  | 0
|  |  |  | 21.9 | 0.0341 | 0 | 0.1341 |  | 0.0341 |  | 0
|  |  |  | 22 | 0.0321 | 0 | 0.1321 |  | 0.0321 |  | 0
|  |  |  | 22.1 | 0.0301 | 0 | 0.1301 |  | 0.0301 |  | 0
|  |  |  | 22.2 | 0.0281 | 0 | 0.1281 |  | 0.0281 |  | 0
|  |  |  | 22.3 | 0.0261 | 0 | 0.1261 |  | 0.0261 |  | 0
|  |  |  | 22.4 | 0.0241 | 0 | 0.1241 |  | 0.0241 |  | 0
|  |  |  | 22.5 | 0.0221 | 0 | 0.1221 |  | 0.0221 |  | 0
|  |  |  | 22.6 | 0.0201 | 0 | 0.1201 |  | 0.0201 |  | 0
|  |  |  | 22.7 | 0.0181 | 0 | 0.1181 |  | 0.0181 |  | 0
|  |  |  | 22.8 | 0.0161 | 0 | 0.1161 |  | 0.0161 |  | 0
|  |  |  | 22.9 | 0.0141 | 0 | 0.1141 |  | 0.0141 |  | 0
|  |  |  | 23 | 0.0121 | 0 | 0.1121 |  | 0.0121 |  | 0
|  |  |  | 23.1 | 0.0101 | 0 | 0.1101 |  | 0.0101 |  | 0
|  |  |  | 23.2 | 0.0081 | 0 | 0.1081 |  | 0.0081 |  | 0
|  |  |  | 23.3 | 0.0061 | 0 | 0.1061 |  | 0.0061 |  | 0
|  |  |  | 23.4 | 0.0041 | 0 | 0.1041 |  | 0.0041 |  | 0
|  |  |  | 23.5 | 0.0021 | 0 | 0.1021 |  | 0.0021 |  | 0
|  |  |  | 23.6 | 0.0001 | 0 | 0.1001 |  | 0.0001 |  | 0
|  |  |  | 23.7 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.8 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 23.9 | 0 | 0 | 0.1 |  | 0 |  | 0
|  |  |  | 24 | 0 | 0 | 0.1 |  | 0 |  | 0

## Test signal 5
Loudness calculation according to ISO 532-1 for stationary sounds (free field) | [7 empty] | Test
[8 empty] | 0 | 0
| N | Nmin | Nmax | critical band | N' | N'min | N'max | N | N'
| sone | sone | sone | Bark | sone/Bark | sone/Bark | sone/Bark | sone | sone/Bark
N / sone | 10.4978 | 9.9729 | 11.0227 | 0.1 | 0.1541 | 0.0541 | 0.2541 | 10.4978 | 0.1541 | 0 | 0 | For testing copy appropriate
LN / phon | 73.9202 | 73.18 | 74.624 | 0.2 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0 | values for N and N' into fields
|  |  |  | 0.3 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0 | with light gray background color!
|  |  |  | 0.4 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 0.5 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 0.6 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 0.7 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 0.8 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 0.9 | 0.1541 | 0.0541 | 0.2541 |  | 0.1541 |  | 0
|  |  |  | 1 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.1 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.2 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.3 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.4 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.5 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.6 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.7 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.8 | 0.4506 | 0.3506 | 0.5506 |  | 0.4506 |  | 0
|  |  |  | 1.9 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.1 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.2 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.3 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.4 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.5 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.6 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.7 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.8 | 0.5024 | 0.4024 | 0.6024 |  | 0.5024 |  | 0
|  |  |  | 2.9 | 0.4514 | 0.3514 | 0.5514 |  | 0.4514 |  | 0
|  |  |  | 3 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.1 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.2 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.3 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.4 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.5 | 0.4507 | 0.3507 | 0.5507 |  | 0.4507 |  | 0
|  |  |  | 3.6 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 3.7 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 3.8 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 3.9 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4.1 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4.2 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4.3 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4.4 | 0.449 | 0.349 | 0.549 |  | 0.449 |  | 0
|  |  |  | 4.5 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 4.6 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 4.7 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 4.8 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 4.9 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5.1 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5.2 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5.3 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5.4 | 0.4412 | 0.3412 | 0.5412 |  | 0.4412 |  | 0
|  |  |  | 5.5 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 5.6 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 5.7 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 5.8 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 5.9 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.1 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.2 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.3 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.4 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.5 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.6 | 0.4368 | 0.3368 | 0.5368 |  | 0.4368 |  | 0
|  |  |  | 6.7 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 6.8 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 6.9 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.1 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.2 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.3 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.4 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.5 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.6 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.7 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.8 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 7.9 | 0.4151 | 0.3151 | 0.5151 |  | 0.4151 |  | 0
|  |  |  | 8 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.1 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.2 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.3 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.4 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.5 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.6 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.7 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.8 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 8.9 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 9 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 9.1 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 9.2 | 0.4079 | 0.3079 | 0.5079 |  | 0.4079 |  | 0
|  |  |  | 9.3 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.4 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.5 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.6 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.7 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.8 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 9.9 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.1 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.2 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.3 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.4 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.5 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.6 | 0.4037 | 0.3037 | 0.5037 |  | 0.4037 |  | 0
|  |  |  | 10.7 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 10.8 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 10.9 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.1 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.2 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.3 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.4 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.5 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.6 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.7 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.8 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 11.9 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 12 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 12.1 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 12.2 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 12.3 | 0.413 | 0.313 | 0.513 |  | 0.413 |  | 0
|  |  |  | 12.4 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 12.5 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 12.6 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 12.7 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 12.8 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 12.9 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.1 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.2 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.3 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.4 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.5 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.6 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.7 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.8 | 0.4464 | 0.3464 | 0.5464 |  | 0.4464 |  | 0
|  |  |  | 13.9 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.1 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.2 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.3 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.4 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.5 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.6 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.7 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.8 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 14.9 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 15 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 15.1 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 15.2 | 0.4989 | 0.3989 | 0.5989 |  | 0.4989 |  | 0
|  |  |  | 15.3 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.4 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.5 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.6 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.7 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.8 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 15.9 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.1 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.2 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.3 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.4 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.5 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.6 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.7 | 0.5815 | 0.4815 | 0.6815 |  | 0.5815 |  | 0
|  |  |  | 16.8 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 16.9 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.1 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.2 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.3 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.4 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.5 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.6 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.7 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.8 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 17.9 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 18 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 18.1 | 0.6004 | 0.5004 | 0.7004 |  | 0.6004 |  | 0
|  |  |  | 18.2 | 0.5584 | 0.4584 | 0.6584 |  | 0.5584 |  | 0
|  |  |  | 18.3 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.4 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.5 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.6 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.7 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.8 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 18.9 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 19 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 19.1 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 19.2 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 19.3 | 0.5464 | 0.4464 | 0.6464 |  | 0.5464 |  | 0
|  |  |  | 19.4 | 0.5045 | 0.4045 | 0.6045 |  | 0.5045 |  | 0
|  |  |  | 19.5 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 19.6 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 19.7 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 19.8 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 19.9 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.1 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.2 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.3 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.4 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.5 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.6 | 0.4765 | 0.3765 | 0.5765 |  | 0.4765 |  | 0
|  |  |  | 20.7 | 0.4345 | 0.3345 | 0.5345 |  | 0.4345 |  | 0
|  |  |  | 20.8 | 0.4056 | 0.3056 | 0.5056 |  | 0.4056 |  | 0
|  |  |  | 20.9 | 0.3836 | 0.2836 | 0.4836 |  | 0.3836 |  | 0
|  |  |  | 21 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.1 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.2 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.3 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.4 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.5 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.6 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.7 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.8 | 0.3822 | 0.2822 | 0.4822 |  | 0.3822 |  | 0
|  |  |  | 21.9 | 0.3602 | 0.2602 | 0.4602 |  | 0.3602 |  | 0
|  |  |  | 22 | 0.3382 | 0.2382 | 0.4382 |  | 0.3382 |  | 0
|  |  |  | 22.1 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.2 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.3 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.4 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.5 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.6 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.7 | 0.3225 | 0.2225 | 0.4225 |  | 0.3225 |  | 0
|  |  |  | 22.8 | 0.3005 | 0.2005 | 0.4005 |  | 0.3005 |  | 0
|  |  |  | 22.9 | 0.2834 | 0.1834 | 0.3834 |  | 0.2834 |  | 0
|  |  |  | 23 | 0.2664 | 0.1664 | 0.3664 |  | 0.2664 |  | 0
|  |  |  | 23.1 | 0.2494 | 0.1494 | 0.3494 |  | 0.2494 |  | 0
|  |  |  | 23.2 | 0.2324 | 0.1324 | 0.3324 |  | 0.2324 |  | 0
|  |  |  | 23.3 | 0.217 | 0.117 | 0.317 |  | 0.217 |  | 0
|  |  |  | 23.4 | 0.206 | 0.106 | 0.306 |  | 0.206 |  | 0
|  |  |  | 23.5 | 0.1973 | 0.0973 | 0.2973 |  | 0.1973 |  | 0
|  |  |  | 23.6 | 0.1973 | 0.0973 | 0.2973 |  | 0.1973 |  | 0
|  |  |  | 23.7 | 0.1863 | 0.0863 | 0.2863 |  | 0.1863 |  | 0
|  |  |  | 23.8 | 0.1753 | 0.0753 | 0.2753 |  | 0.1753 |  | 0
|  |  |  | 23.9 | 0.1643 | 0.0643 | 0.2643 |  | 0.1643 |  | 0
|  |  |  | 24 | 0.1533 | 0.0533 | 0.2533 |  | 0.1533 |  | 0